|  | 3.2 | Vload | ed | Consistency with Classes amendment | Replace "VLOAD" with "Vload" throughout the document and use it as the value of the DC voltage at CON3, like in other 10373-6 documents (i.e. as the value defined in table 3 of 10373-6/FPDAM8) |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | 5.2.2 | title | ed | There is no need to abbreviate "versus" | Replace "Computation of power vs. time" with "Computation of power versus time" (Same comment 3 times more in the document) |  |
|  | 5.2.2 |  | ed | Typo on "exactly" | Replace "a Bartlett window of exact two subcarrier cycles " with "a Bartlett window of exactly two subcarrier cycles " |  |
|  | 5.3.1 | Step c | ED | The wording is not consistent with similar wordings in 10373-6 and 10373-6/AMD8(Classes): - J1 to position 'b' is missing - Test PCD assembly with upper case "T" - Vload is the value of the DC voltage which is named in this amendment VLOAD which is misleading (nearly the same name) - amendment on classes should be published before amendment on EMD, which should refer to Reference PICC 1 | Replace "Put the Reference PICC in the DUT position of the test PCD assembly and adjust R2 to obtain a VLOAD of 6 V (DC) at CON3. Alternatively jumper J1 may be set to position 'c' and the applied voltage on CON2 is adjusted to obtain a VLOAD of 6 V (DC) at CON2. The RF drive into the test PCD antenna shall be re-adjusted to the required field strength if necessary." with: "Place Reference PICC 1 into the DUT position on the Test PCD assembly. Switch the jumper J1 to position 'b' and adjust R2 to obtain a DC voltage of Vload measured at connector CON3. Alternatively, jumper J1 may be set to position 'c' and the applied voltage on CON2 is adjusted to obtain a DC voltage of Vload at connector CON3. In both cases, the operating field condition shall be verified by monitoring the voltage on the calibration coil and adjusted if necessary." |  |
|  | 7.1.6.2 | Step a | ED | Amendment on classes should be published before amendment on EMD, which should refer to Reference PICC 1 | Replace "Tune the Reference PICC to 13.56 MHz" with "Tune Reference PICC 1 to 13.56 MHz" And adapt other steps in 7.1.6.2 and 7.1.7.2 to refer to "Reference PICC 1" |  |
|  | 7.1.6.2 | Step a | ed | typo | Use a comma in "13,56 MHz" |  |
|  | 7.1.6.2 | Step c | ED | Vload is the value of the DC voltage | Replace "Apply and adjust a DC voltage at CON2 to obtain a VLOAD at connector CON3 of 3 V (DC) or optionally 6 V (DC) when supporting Class 1 at that position." with "Apply and adjust a DC voltage at CON2 to obtain a DC voltage at connector CON3 of Vload." |  |
|  | 7.1.6.2 | Step d | ed | wording | Add "Figure" before Amd.9.1 |  |
|  | 7.1.6.2 | Step d | ed | wording | Replace "The test pattern is given in Figure Amd.9.2 and Figure Amd.9.3." with " The test pattern is defined in Figure Amd.9.2 and Figure Amd.9.3. " |  |
|  | 7.1.6.2 | Step d | ed | VLMA and VEMD are different load modulation amplitude values | Replace "The initial VLMA (named VEMD) of the test pattern shall…" with "The initial load modulation amplitude VEMD of the test pattern shall…" |  |
|  | 7.1.6.2 | Step e | ed | wording | Replace "…with a VLMA, measured…" with "…with a load modulation amplitude VLMA, measured…" |  |
|  | 7.1.6.2 | Step f | ed | wording | Replace "Increase the VEMD of the test pattern by adjusting…" with "Increase VEMD by adjusting…" |  |
|  | 7.1.6.2 | Step h | ed | wording | Replace "the same VLOAD at CON3" with "the same DC voltage at CON3" |  |
|  | 7.1.6.2 | Step j | ed | wording | Replace "Compare this measured VEMD level" with "Compare this measured VEMD value" |  |
|  | 7.1.6.2 | Last line |  | Tuning is not necessary for each position because it is done for Hmin in 10373-6, 5.4.3, so step a need not be repeated. There are several steps. This sentence should be a step h, for consistency with similar procedures in 10373-6 | Replace "Repeat step a) to j)" with "h) Repeat steps b) to j)" |  |
|  | 7.1.6.3 |  | ed | This subclause should be below the figures Amd.9.1 to 9.3. |  |  |
|  | 7.1.6.3 | Figure Amd.9.1 | ed | A vertical arrow showing VEMD could be added, like in figure Amd.9.4 the horizontal arrow showing tE,PCD. | Add this arrow |  |
|  | 7.1.6.3 | Figure Amd.9.1 | ed | Consistency with 7.1.6 title | Delete "Type A" from figure Amd.9.1 title The figure title could also include the words PCD and/or immunity to be more consistent with 7.1.6 title |  |
|  | 7.1.6.3 | Figures Amd.9.2 and Amd.9.3 | ED | These two figures do not define accurately the test pattern. | Delete these two figures and replace for 7.1.6.2, step d text with: "Send the test pattern as shown in Figure Amd.9.1. The test pattern is a valid standard frame including one single byte (01011101)b. The initial load modulation amplitude VEMD of the test pattern shall be lower than VE, PCD." Update figure Amd.9.1 to remove "A1 or B1" |  |
|  | 7.1.7.2 | Step a | ed | typo | Use a comma in "13,56 MHz" |  |
|  | 7.1.7.2 | Step c | ED | The wording is not consistent with similar wordings in 10373-6 and 10373-6/AMD8(Classes): - Vload is the value of the DC voltage which is named in this amendment VLOAD which is misleading (nearly the same name) - amendment on classes should be published before amendment on EMD, which should refer to Reference PICC 1 - there is a dot too many before "and the voltage adjusted if necessary | Replace "Place the Reference PICC into the DUT position on the Test PCD assembly. Switch the jumper J1 to 'b' and adjust R2 to obtain a VLOAD of 6V (DC) measured at CON3. Alternatively, jumper J1 may be set to 'c' and the applied voltage at CON2 is adjusted to obtain a VLOAD of 6V (DC) at CON3. In both cases, the operating field condition shall be verified by monitoring the voltage on the calibration coil. and the voltage adjusted if necessary." with "Place Reference PICC 1 into the DUT position on the Test PCD assembly. Switch the jumper J1 to position 'b' and adjust R2 to obtain a DC voltage of Vload measured at connector CON3. Alternatively, jumper J1 may be set to position 'c' and the applied voltage on CON2 is adjusted to obtain a DC voltage of Vload at connector CON3. In both cases, the operating field condition shall be verified by monitoring the voltage on the calibration coil and adjusted if necessary." |  |
|  | 7.1.7.2 | Step d | ed | wording | Replace "…with a VLMA, measured…" with "…with a load modulation amplitude VLMA, measured…" |  |
|  | 7.1.7.2 | Step e | ED | consistency with step c if "Vload" replaces "6 V" | Replace "6 V (DC)" with "Vload" |  |
|  | 7.1.7.2 | Step g | ed | step g) should be consistent with 7.1.6.2 step f) | Add "This may be determined by monitoring the next PCD command following the PICC answer, see Figure Amd.9.4." |  |
|  | 7.1.7.2 | Step h | ED | Tuning, load modulation adjustment and reference PICC positioning need not be repeated. There are several steps. | Replace "Repeat step a) to g) 10 times" with "Repeat steps f) and j) 10 times" |  |
|  | 7.1.7.2 | Figure Amd.9.6 | te | The test pattern for type B should include TR1 (or at least some subcarrier cycles) before SOF to synchronise the PCD receiver | Update figure Amd.9.6 to show 16 to 80 subcarrier cycles before SOF Else, update step f wording because "in a valid way" would not be correct for type B |  |
|  | 7.1.7.3 |  | ED | Wording: what does "resp." mean here | Change wording to explain only what is seen: "The test report shall report whether the PCD was not disturbed by the test pattern sent tE,PCD before the PICC answer." |  |
|  | 7.2.2.1 |  | ed | VEMD is a value No space in "VE,PICC" No need to write "the base standard" | Replace the sentence with "The purpose of this test is to determine whether the PICC does not generate an electromagnetic disturbance amplitude VEMD higher than VE,PICC during tE,PICC with exceptions defined in Amd.3 of ISO/IEC 14443-2. |  |
|  | 7.2.2.2 |  | ed | typo | Delete the comma before "defined in 5.2.3…" |  |
|  | 7.2.2.4 |  | ed | typo | Use upper case "T" in "Test PCD" (several occurrences) |  |
|  | 7.2.2.4 | Step b | ed | Wording consistency with other steps and similar cases | Replace "The PICC under test shall be placed in the DUT position." with "Place the PICC under test into the DUT position." |  |
|  | 7.2.2.4 | Step c | ED | Reference to annex G is missing | Add "(see G.3.3.2.1 for PICC Type A and G.4.4.1.1 for PICC Type B)" |  |
|  | 7.2.2.4 | Step j | ed | Wording consistency with similar cases | Replace "Repeat step d) to step i)…" with "Repeat steps d) to i)…" |  |